## Data Centre Asset
S.No | Item | Model | Support Category | Date of Purchase | Serial Number | AMC ends on | CAMC cost per item for 5 years
1 | APC - AP5717 | APC Rack LCD Console | A | 2017-06-27 | 4A1628A10126 | 2021-06-23
2 | APC - AP5717 | APC Rack LCD Console | A | 2017-06-27 | 4A1510A40250 | 2021-06-24
3 | APC - AP5717 | APC Rack LCD Console | A | 2017-06-27 | 4A1C28A10127 | 2021-06-25
4 | APC - AP5717 | APC Rack LCD Console | A | 2017-06-27 | 4A1510A40249 | 2021-06-26
5 | APC - AP5717 | APC Rack LCD Console | A | 2017-06-27 | 4A1628A10125 | 2021-06-27
6 | APC Symmetra PX 16kW Scalable to 48kW,All in one | SYCF48KH | A | 2014-10-10 | PD1249150137 | 2021-03-31
7 | APC Symmetra PX 16kW Scalable to 48kW,All in one | SYCF48KH | A | 2016-01-10 | PD1533150051 | 2021-06-12
8 | APC Symmetra PX 64kW Scalable to 160kW, 400V | SY64K160H | A | 04.04.2017 | QD1645140666 | 2021-04-02
9 | AC uni flair(Precision AC) - 10 Ton | TDAV1021AN40-1 | A | 2017-03-24 | C21625000114 | 2021-03-31
10 | AC uni flair(Precision AC) - 10 Ton | TDAV1021AN40-1 | A | 2017-04-12 | C21622004026 | 2021-03-31
11 | Stablizer Tsi Elecpower - 50 KVA | 50000-9339-200M | A | 2017-02-14 | 94334 | 2021-03-31
12 | Stablizer Tsi Elecpower - 50 KVA | 50000-9339-200M | A | 2017-02-14 | 94476 | 2021-03-31
13 | Security & Fire Alarm System | APOLLO SMART X 132 AP | A | 2017-04-12 | S000278PROD | 2021-03-31
14 | Gas Release System(Microprocessor based) with Cylinder (2 Nos) | Fire Suppression System NOVEC 1230 or Higher | A | 2014-11-12 |  | 2021-03-31
15 | Rodent Repellent (Qty-04) | Ultra NW Star | A | 2017-02-14 |  | 2021-03-31
16 | Water Leak Detector | Ultra NW Star | A | 2017-02-14 |  | 2021-03-31
17 | Data Center Electric panels (Qty - 06) |  | A | 2017-02-14 |  | 2021-03-31
18 | Temperature Sensors (Qty -3) |  | B | 2014-10-10 |  | Expired
19 | VESDA | IDISCOVERY ASD | A | 2014-10-10 |  | Expired
20 | CCTV Camera(8 cameras) & NVR (recorder) |  | B | 2014-10-10 |  | Expired
21 | Emergency Door open alarm (Qty -02) |  | B | 2014-11-12 |  | Expired
22 | Access Door open alarm |  | B | 2014-10-10 |  | Expired
23 | Biometric Device (Qty -03) | OIN7020057011901764/OIN7030057031401470 | B | 2014-10-10 |  | Expired
24 | 42 U Network Rack - (Qty - 02) |  | B | 2014-11-12 |  | Expired
25 | 24 U Rack (Qty - 5) |  | B | 2014-11-12 |  | Expired
26 | 12 U Rack (Qty - 1) |  | B | 2014-11-12 |  | Expired
27 | Power Distribution Units (PDU) (Qty - 16) |  | B | 2014-11-12 |  | Expired
Total CAMC Cost for Data Centre Equipment | [6 empty] | 0