## Data Centre
S.No | Item | Model | AMC ends on | CAMC cost per item for 5 years
1 | APC | APC Rack LCD Console | Expired
2 | APC | APC Rack LCD Console | Expired
3 | APC | APC Rack LCD Console | Expired
4 | APC | APC Rack LCD Console | Expired
5 | APC | APC Rack LCD Console | Expired
6 | APC Symmetra PX 16kW Scalable to 48kW,All in one | SYCF48KH | 2021-03-31
7 | APC Symmetra PX 16kW Scalable to 48kW,All in one | SYCF48KH | 2021-06-12
8 | APC Symmetra PX 64kW Scalable to 160kW, 400V | SY64K160H | 2021-04-02
9 | AC uni flair(Precision AC) | TDAV1021AN40-1 | 2021-03-31
10 | AC uni flair(Precision AC) | TDAV1021AN40-1 | 2021-03-31
11 | Stablizer Tsi Elecpower | 50000-9339-200M | 2021-03-31
12 | Stablizer Tsi Elecpower | 50000-9339-200M | 2021-03-31
13 | Security & Fire Alarm System | APOLLO SMART X 132 AP | 2021-03-31
14 | Gas Release System(Microprocessor based) |  | 2021-03-31
15 | Rodent Repellent (Qty-04) | Ultra NW Star | 2021-03-31
16 | Water Leak Detector | Ultra NW Star | 2021-03-31
17 | Data Center Electric panels |  | 2021-03-31
18 | Temperature Sensors (Qty -3) |  | Expired
20 | VESDA |  | Expired
21 | CCTV Camera(8 cameras) & NVR (recorder) |  | Expired
22 | Emergency Door open alarm |  | Expired
23 | Access Door open alarm |  | Expired
24 | Biometric Device (Qty -03) | OIN7020057011901764/OIN7030057031401470 | Expired
25 | 42 U Network Rack - (Qty - 02) |  | Expired
26 | 24 U Rack |  | Expired
27 | 12 U Rack (Qty - 2) |  | Expired
28 | Power Distribution Units (PDU) (Qty - 10) |  | Expired
29 | PDU with Indian Socket -(Qty -02) |  | Expired
30 | Fire Suppression System NOVEC 1230 or Higher (Qty -02) |  | Expired
Total CAMC Cost for Data Centre Equipment |  |  |  | 0